## Worksheet
Tag Number List
Show 1-1,301 of 1,301 record
# | Tag Number | Machine/Equipment Description | Area / Room
1 | PI-12-30101 | Pressure Gauge | AHU 03
2 | PI-12-30102 | Pressure Gauge | AHU 03
3 | TI-12-30101 | Temperature Gauge | AHU 03
4 | TI-12-30102 | Temperature Gauge | AHU 03
5 | TI-12-20101 | Temperature Gauge | AHU 09
6 | TI-12-20102 | Temperature Gauge | AHU 09
7 | TI-12-20103 | Temperature Gauge | AHU 09
8 | TI-12-20104 | Temperature Gauge | AHU 09
9 | TI-12-30302 | Temperature Gauge | AHU 14
10 | TI-12-30303 | Temperature Gauge | AHU 14
11 | TI-12-30304 | Temperature Gauge | AHU 14
12 | PI-12-30301 | Pressure Gauge | AHU 14
13 | PI-12-30302 | Pressure Gauge | AHU 14
14 | PI-12-30303 | Pressure Gauge | AHU 14
15 | PI-12-30304 | Pressure Gauge | AHU 14
16 | DPI-12-20504A-HF | Differential Pressure Gauge | AHU 14A
17 | DPI-12-20502A-BF1 | Differential Pressure Gauge | AHU 14A
18 | DPI-12-20503A-BF2 | Differential Pressure Gauge | AHU 14A
19 | THT-13-33303 | Temperature Humidity Transmitter | AHU 14A
20 | THT-13-33303. | Temperature Humidity Transmitter | AHU 14A
21 | DPT-13-33309 | Differential Pressure Transmitter | AHU 14A
22 | DPT-13-33310 | Differential Pressure Transmitter | AHU 14A
23 | DPT-13-33311 | Differential Pressure Transmitter | AHU 14A
24 | DPT-13-33312 | Differential Pressure Transmitter | AHU 14B
25 | DPT-13-33313 | Differential Pressure Transmitter | AHU 14B
26 | DPI-12-20503B-BF2 | Differential Pressure Gauge | AHU 14B
27 | THT-13-33305 | Temperature Humidity Transmitter | AHU 14B
28 | THT-13-33305. | Temperature Humidity Transmitter | AHU 14B
29 | DPI-12-20502B-BF1 | Differential Pressure Gauge | AHU 14B
30 | DPI-12-20504B-HF | Differential Pressure Gauge | AHU 14B
31 | DPT-13-33314 | Differential Pressure Transmitter | AHU 14B
32 | TI-12-20301 | Temperature Gauge | AHU 15
33 | TI-12-20302 | Temperature Gauge | AHU 15
34 | PI-12-20301 | Pressure Gauge | AHU 15
35 | PI-12-20302 | Pressure Gauge | AHU 15
36 | TI-12-30401 | Temperature Gauge | AHU 16
37 | TI-12-30402 | Temperature Gauge | AHU 16
38 | THT-13-33301 | Temperature Humidity Transmitter | AHU 16
39 | THT-13-33301. | Temperature Humidity Transmitter | AHU 16
40 | DPT-13-33301 | Differential Pressure Transmitter | AHU 16
41 | DPT-13-33302 | Differential Pressure Transmitter | AHU 16
42 | DPI-12-30401-AHU | Differential Pressure Gauge | AHU 16
43 | DPI-12-30402-AHU | Differential Pressure Gauge | AHU 16
44 | DPI-12-30403-AHU | Differential Pressure Gauge | AHU 16
45 | PI-12-30401 | Pressure Gauge | AHU 16
46 | PI-12-30402 | Pressure Gauge | AHU 16
47 | PI-12-30501 | Pressure Gauge | AHU 17
48 | PI-12-30502 | Pressure Gauge | AHU 17
49 | DPT-13-33303 | Differential Pressure Transmitter | AHU 17
50 | DPT-13-33304 | Differential Pressure Transmitter | AHU 17
51 | DPT-13-33305 | Differential Pressure Transmitter | AHU 17
52 | THT-13-33309 | Temperatur Humidity trasmitter | AHU 17
53 | THT-13-33309. | Temperature Humidity Transmitter | AHU 17
54 | TI-12-30501 | Temperature Gauge | AHU 17
55 | TI-12-30502 | Temperature Gauge | AHU 17
56 | TI-12-20401 | Temperature Gauge | AHU 18
57 | TI-12-20402 | Temperature Gauge | AHU 18
58 | PI-12-20401 | Pressure Gauge | AHU 18
59 | PI-12-20402 | Pressure Gauge | AHU 18
60 | TI-12-30601 | Temperature Gauge | AHU 20
61 | TI-12-30602 | Temperature Gauge | AHU 20
62 | PI-12-30601 | Pressure Gauge | AHU 20
63 | PI-12-30602 | Pressure Gauge | AHU 20
64 | DPT-13-33306 | Differential Pressure Transmitter | AHU 21
65 | DPT-13-33307 | Differential Pressure Transmitter | AHU 21
66 | DPI-12-30701-AHU | Differential Pressure Gauge | AHU 21
67 | DPI-12-30702-AHU | Differential Pressure Gauge | AHU 21
68 | DPI-12-30703-AHU | Differential Pressure Gauge | AHU 21
69 | DPI-12-30901-AHU | Differential Pressure Gauge | AHU 21
70 | DPI-12-30902-AHU | Differential Pressure Gauge | AHU 21
71 | DPI-12-30903-AHU | Differential Pressure Gauge | AHU 21
72 | DPI-12-30904-AHU | Differential Pressure Gauge | AHU 21
73 | DPI-12-30905-AHU | Differential Pressure Gauge | AHU 21
74 | DPI-12-30906-AHU | Differential Pressure Gauge | AHU 21
75 | DPI-12-30907-AHU | Differential Pressure Gauge | AHU 21
76 | DPI-12-30908-AHU | Differential Pressure Gauge | AHU 21
77 | DPT-13-33308 | Differential Pressure Transmitter | AHU 21
78 | DPT-13-33317 | Differential Pressure Transmitter | AHU 24.1
79 | DPT-13-33318 | Differential Pressure Transmitter | AHU 24.2
80 | DPT-13-33319 | Differential Pressure Transmitter | AHU 24.2
81 | DPT-13-33320 | Differential Pressure Transmitter | AHU 24.2
82 | DPT-13-33323 | Differential Pressure Transmitter | AHU 25
83 | DPT-13-33321 | Differential Pressure Transmitter | AHU 25
84 | DPT-13-33322 | Differential Pressure Transmitter | AHU 25
85 | FT-13-33301 | Air Flow Tranmitter | AHU 26
86 | THT-13-33304 | Temperature Humidity Transmitter | AHU 26
87 | THT-13-33308 | Temperature Humidity Transmitter | AHU 26
88 | THT-13-33314 | Temperature Humidity Transmitter | AHU 27
89 | FT-13-33302 | Air Flow Tranmitter | AHU 27
90 | DPT-13-33326 | Differential Pressure Transmitter | AHU 28
91 | DPT-13-33324 | Differential Pressure Transmitter | AHU 28
92 | DPT-13-33325 | Differential Pressure Transmitter | AHU 28
93 | TI-11-30401-CH | Temperature Gauge | AHU 304
94 | TI-11-30402-CH | Temperature Gauge | AHU 304
95 | TI-11-30403-CH | Temperature Gauge | AHU 304
96 | TI-11-30404-CH | Temperature Gauge | AHU 304
97 | TI-11-30501-CH | Temperature Gauge | AHU 305
98 | TI-11-30502-CH | Temperature Gauge | AHU 305
99 | TI-11-30503-CH | Temperature Gauge | AHU 305
100 | PI-12-20101 | Pressure Gauge | AHU 9
101 | PI-12-20102 | Pressure Gauge | AHU 9
102 | PI-12-20103 | Pressure Gauge | AHU 9
103 | PI-12-20104 | Pressure Gauge | AHU 9
104 | DPT-13-33315 | Differential Pressure Transmitter | AHU 9.2
105 | DPT-13-33316 | Differential Pressure Transmitter | AHU 9.2
106 | THT-13-33306 | Temperatur Humidity trasmitter | AHU 9.3&9.4
107 | THT-13-33306. | Temperature Humidity Transmitter | AHU 9.3&9.4
108 | DPT-13-33327 | Differential Pressure Transmitter | AHU 9.4
109 | DPT-13-33328 | Differential Pressure Transmitter | AHU 9.4
110 | HF-24-12803 | HEPA Ceiling | Airlock
111 | HF-26-25501 | HEPA Ceiling | Airlock
112 | HF-42-25601-BSC | HEPA Ceiling | Biologycal Safety Cabinet
113 | HF-42-25602-BSC | HEPA Ceiling | Biologycal Safety Cabinet
114 | AC-068 | Air Conditioner 1300A | Cimanggis
115 | AC-069 | Air Conditioner 1300B | Cimanggis
116 | AC-070 | Air Conditioner 1300C | Cimanggis
117 | AC-071 | Air Conditioner 1300D | Cimanggis
118 | AC-065 | Dehumidifier 1 | Cimanggis
119 | AC-066 | Dehumidifier 2 | Cimanggis
120 | TI-31-18102 | Temperature Indicator | Coldbox GD05
121 | U-067 | Lift | Combantrin Area
122 | HF-24-12502-P25 | Laminar Air Flow | Cooling Stg
123 | HF-24-12503-P25 | Laminar Air Flow | Cooling Stg
124 | HF-24-12504-P25 | Laminar Air Flow | Cooling Stg
125 | HF-24-12505-P25 | Laminar Air Flow | Cooling Stg
126 | HF-24-12506-P25 | Laminar Air Flow | Cooling Stg
127 | HF-24-12507-P25 | Laminar Air Flow | Cooling Stg
128 | HF-24-12508-P25 | Laminar Air Flow | Cooling Stg
129 | HF-24-12605 | HEPA Ceiling | Corridor
130 | HF-24-12606 | HEPA Ceiling | Corridor
131 | U-087 | Hand Dryer | Female Access Area
132 | U-088 | Hand Dryer | Female Access Area
133 | HF-24-14503 | HEPA Ceiling | Filtration
134 | U-115 | Perkins Genset | Generator
135 | U-002 | Fuel Trans.Pump | Generator
136 | U-004 | Battery Charger | Generator
137 | HF-26-25401 | HEPA Ceiling | Gowning
138 | HF-24-12703 | HEPA Ceiling | Gowning
139 | HF-42-25301 | HEPA Ceiling | Isolator
140 | HF-42-25302 | HEPA Ceiling | Isolator
141 | U-107 | Vacuum Cleaner Delvin | Janitor Storage
142 | ENG-INS-25DT0047 | Digital Manometer | Kalibrasi
143 | TI-99-CRXU | Temperature Indicator | Kontainer
144 | TI-99-CRXU-5254372 | Thermometer Indicator Thermocouple | Kontainer
145 | TI-99-KKTU | Temperature Indicator | Kontainer
146 | TI-99-KKTU-6042937 | Thermometer Indicator Thermocouple | Kontainer
147 | ENG-INS-58506H | Temperature Calibration Block HTR | Lab. Kalibrasi
148 | ENG-INS-58506L | Temperature Calibration Block LTR | Lab. Kalibrasi
149 | ENG-INS-ATM301 | Anak Timbang | Lab. Kalibrasi
150 | ENG-INS-ATM302 | Anak Timbang | Lab. Kalibrasi
151 | ENG-INS-ATM303 | Anak Timbang | Lab. Kalibrasi
152 | ENG-INS-ATM304 | Anak Timbang | Lab. Kalibrasi
153 | ENG-INS-ATM305 | Anak Timbang | Lab. Kalibrasi
154 | ENG-INS-16010001 | Thermometer Calibration KIT | Lab. Kalibrasi
155 | HF-21605 | Laminar Air Flow | LAF EQU 4
156 | U-047 | Washing Machine | Laundry
157 | U-048 | Draying machine | Laundry
158 | HF-23-12301-PI7 | Laminar Air Flow | Lytzen
159 | HF-23-12302-PI7 | Laminar Air Flow | Lytzen
160 | HF-23-12303-P17 | Laminar Air Flow | Lytzen
161 | HF-23-12304-PI7 | Laminar Air Flow | Lytzen
162 | U-085 | Hand Dryer | Male Access Area
163 | U-086 | Hand Dryer | Male Access Area
164 | DPI-19-33201 | Differential Pressure | Mezanine
165 | U-090 | Compressed Air Dryer | Mezzanine
166 | U-040 | AHU sytem 21.1 | Mezzanine
167 | U-041 | AHU system 22.2 | Mezzanine
168 | AC-055 | AHU System 9-1 | Mezzanine
169 | AC-056 | AHU System 9-2 | Mezzanine
170 | AC-058 | AHU System 24.1 | Mezzanine
171 | AC-059 | AHU System 24.2 | Mezzanine
172 | AC-060 | Dehumidifier 24.2 | Mezzanine
173 | AC-061 | AHU System 25 | Mezzanine
174 | AC-062 | AHU System 26 | Mezzanine
175 | AC-063 | AHU System 27 | Mezzanine
176 | AC-064 | AHU System 28 | Mezzanine
177 | AC-015 | Level Control Valve | Mezzanine
178 | AC-016 | AHU System 3 | Mezzanine
179 | AC-017 | AHU System 5 | Mezzanine
180 | AC-018 | AHU System 14 A | Mezzanine
181 | AC-019 | AHU System 14 B | Mezzanine
182 | AC-021 | AHU System 15 | Mezzanine
183 | AC-022 | AHU System 16 | Mezzanine
184 | AC-023 | AHU System 17 | Mezzanine
185 | AC-024 | AHU System 18 | Mezzanine
186 | AC-026 | AHU System 20 | Mezzanine
187 | AC-027 | Exhaust Fan System 4 | Mezzanine
188 | AC-050 | Fan Toilet | Mezzanine
189 | HF-26-25301 | HEPA Ceiling | Micro Lab.
190 | HF-26-25601 | HEPA Ceiling | Micro Lab.
191 | HF-24003-MOB | Laminar Air Flow | Mobile
192 | HF-25-14301-P20 | Laminar Air Flow | Ointment
193 | HF-25-14302-P20 | Laminar Air Flow | Ointment
194 | HF-25-14303 | HEPA Ceiling | Ointment
195 | HF-25-14304 | HEPA Ceiling | Ointment
196 | HF-25-14401-B | HEPA Ceiling | Other Coump
197 | HF-25-14402-B | HEPA Ceiling | Other Coump
198 | HF-24-14101-PI9 | Laminar Air Flow | Other Liq Fill
199 | HF-24-14102-PI9 | Laminar Air Flow | Other Liq Fill
200 | HF-24-14103-PI9 | Laminar Air Flow | Other Liq Fill
201 | HF-24-14104-PI9 | Laminar Air Flow | Other Liq Fill
202 | HF-24-14108 | HEPA Ceiling | Other Liq Fill
203 | HF-24-14109 | HEPA Ceiling | Other Liq Fill
204 | U-110 | Water Cooling Tower LRC 250 | Outside
205 | U-034 | N2 Liquid Tank | Outside
206 | U-035 | N2 Filter | Outside
207 | U-005 | Fuel Main Tank 1 | Outside
208 | U-039 | Stand by cold water pump A | Outside
209 | U-058-1 | Jocky pump | Outside
210 | U-078 | Water Cooler LBC 500 | Outside
211 | U-049 | Floor Polisher | Packaging
212 | HF-25-14201 | HEPA Ceiling | Process Oint
213 | HF-25-14202 | HEPA Ceiling | Process Oint
214 | U-108 | Vacuum Cleaner Krisbow | Production
215 | RH-41-10201 | RH Recorder | R-102
216 | TI-41-10201 | Temperature Indicator | R-102
217 | TT-31-10201 | Temperatur Trasmitter | R-102
218 | TT-31-10202 | Temperatur Trasmitter | R-102
219 | TT-31-10204 | Temperatur Trasmitter | R-102
220 | TT-31-10205 | Temperatur Trasmitter | R-102
221 | TT-31-10206 | Temperatur Trasmitter | R-102
222 | TT-31-10207 | Temperatur Trasmitter | R-102
223 | TT-31-10208 | Temperature Indicator | R-102
224 | BR-33-10306 | Balance Indicator | R-103
225 | TM-21-10801 | Timer | R-108
226 | TM-21-10802 | Timer | R-108
227 | PI-21-10901 | Pressure Indicator | R-109
228 | PI-22-11001 | Pressure Gauge | R-110
229 | PI-22-11002 | Pressure Gauge | R-110
230 | PI-22-11004 | Pressure Indicator | R-110
231 | TT-22-11001 | Temperature Transmitter | R-110
232 | TT-22-11002 | Temperature Transmitter | R-110
233 | TT-22-11003 | Temperature Transmitter | R-110
234 | TT-22-11004 | Temperature Transmitter | R-110
235 | TT-22-11005 | Temperature Transmitter | R-110
236 | TT-22-11006 | Temperature Transmitter | R-110
237 | TT-22-11007 | Temperature Transmitter | R-110
238 | TT-22-11008 | Temperature Transmitter | R-110
239 | TT-22-11009 | Temperature Transmitter | R-110
240 | WS-21-13719 | Weight | R-110
241 | WS-21-13720 | Weight | R-110
242 | WS-21-13721 | Weight | R-110
243 | WS-21-13722 | Weight | R-110
244 | WS-21-13723 | Weight | R-110
245 | WS-21-13724 | Weight | R-110
246 | WS-21-13725 | Weight | R-110
247 | WS-21-13726 | Weight | R-110
248 | WS-21-13727 | Weight | R-110
249 | WS-21-13728 | Weight | R-110
250 | WS-21-13729 | Weight | R-110
251 | WS-21-13730 | Weight | R-110
252 | WS-21-13731 | Weight | R-110
253 | WS-21-13732 | Weight | R-110
254 | WS-21-13733 | Weight | R-110
255 | WS-21-13734 | Weight | R-110
256 | BR-22-11001 | Balance Indicator | R-110
257 | BR-22-11002 | Balance Indicator | R-110
258 | BR-22-11005 | Balance Indicator | R-110
259 | BR-22-11006 | Check Weigher | R-110
260 | BR-22-11008 | Balance Indicator | R-110
261 | BR-22-11010 | Balance Indicator | R-110
262 | BR-22-11011 | Balance Readout | R-110
263 | BR-22-11012 | Balance Indicator | R-110
264 | BR-22-11013 | Balance Indicator | R-110
265 | BR-22-11014 | Balance Indicator | R-110
266 | BR-22-11015 | Check Weigher | R-110
267 | BR-22-11016 | Balance | R-110
268 | DPT-22-11001 | Differential Pressure Transmitter | R-110
269 | DPT-22-11002 | Differential Pressure Transmitter | R-110
270 | DPT-22-11003 | Differential Pressure Transmitter | R-110
271 | DPT-22-11004 | Differential Pressure Transmitter | R-110
272 | DPT-22-11005 | Differential Pressure Transmitter | R-110
273 | DPT-22-11006 | Differential Pressure Transmitter | R-110
274 | DPT-22-11007 | Differential Pressure Transmitter | R-110
275 | DPT-22-11008 | Differential Pressure Transmitter | R-110
276 | BR-93-00101-C | Balance Indicator | R-110
277 | BR-33-10302 | Balance Indicator | R-110
278 | PI-21-11011 | Vacuum Gauge | R-110
279 | PI-21-11012 | Pressure Gauge | R-110
280 | PI-22-11003 | Pressure Indicator | R-110
281 | TI-22-11001 | Temperature Indicator | R-110
282 | TI-22-11007 | Temperature Indicator | R-110
283 | TC-22-11001 | Temperature Controller | R-110
284 | TC-22-11002 | Temperature Controller | R-110
285 | TC-22-11004 | Temperature Controller | R-110
286 | TI-91-018 | Temperature Indicator | R-1100
287 | TI-99-1100-003 | Temperature Indicator | R-1100
288 | TI-99-1100-004 | Temperature Indicator | R-1100
289 | TI-32-11201 | Temperature Indicator | R-112
290 | TI-32-11202 | Temperature Indicator | R-112
291 | TI-32-11203 | Temperature Indicator | R-112
292 | TI-32-11204 | Temperature Indicator | R-112
293 | TI-32-11205 | Temperature Indicator | R-112
294 | TI-32-11206 | Temperature Indicator | R-112
295 | TI-32-11207 | Temperature Indicator | R-112
296 | TI-32-11208 | Temperature Indicator | R-112
297 | RH-32-11208 | Humidity Indicator | R-112
298 | PT-31-11401 | Pressure Transmitter | R-114
299 | DPI-41-11405 | Differential Pressure Gauge | R-114
300 | DPI-41-11406 | Differential Pressure Gauge | R-114
301 | DPT-31-11401 | Differential Pressure Transmitter | R-114
302 | DPT-31-11402 | Differential Pressure Transmitter | R-114
303 | DPT-31-11403 | Differential Pressure Transmitter | R-114
304 | DPI-31-11401 | Differential Pressure | R-114
305 | DPI-31-11402 | Differential Pressure | R-114
306 | DPI-31-11403 | Differential Pressure | R-114
307 | DPI-31-11404 | Differential Pressure | R-114
308 | TI-99-1200-002 | Temperature Indicator | R-1200
309 | TI-91-019 | Temperature Indicator | R-1200
310 | TT-23-12303-GET | Temperature Transmitter | R-123
311 | PSL-23-12373-GET | Pressure Switch | R-123
312 | PSL-23-12374-GET | Pressure Switch | R-123
313 | PT-23-12303-GET | Pressure Transmitter | R-123
314 | PT-23-12304-GET | Pressure Transmitter | R-123
315 | TI-23-12307-GET | Temperature Indicator | R-123
316 | TI-23-12307-SPV-GET | Temperature Indicator | R-123
317 | TI-23-12312-GET | Temperature Indicator | R-123
318 | TI-23-12312-SPV-GET | Temperature Indicator | R-123
319 | TI-23-12301-WFI | Temperature Gauge | R-123
320 | PI-23-12301 | Pressure Indicator | R-123
321 | PI-23-12301-GET | Pressure Gauge | R-123
322 | PI-23-12302-GET | Pressure Gauge | R-123
323 | PI-23-12302-GNR | Pressure Gauge | R-123
324 | PI-23-12303-GET | Pressure Gauge | R-123
325 | PI-23-12304-GET | Pressure Gauge | R-123
326 | PI-23-12305-GET | Pressure Gauge | R-123
327 | TC-99-1300-001 | Temperature Control | R-1300
328 | TC-99-1300-002 | Temperature Control | R-1300
329 | TC-99-1300-003 | Temperature Control | R-1300
330 | TC-99-1300-004 | Temperature Control | R-1300
331 | BR-32-11201 | Balance Indicator | R-1300
332 | WS-39-001 | Anak Timbang F1 | R-1300
333 | WS-39-002 | Anak Timbang F1 | R-1300
334 | WS-39-003 | Anak Timbang M1 | R-1300
335 | WS-39-004 | Anak Timbang M1 | R-1300
336 | TI-99-1300-005 | Temperature Indicator | R-1300
337 | TI-99-1300-006 | Temperature Indicator | R-1300
338 | TI-99-1300-007 | Temperature Indicator | R-1300
339 | TI-99-1300-008 | Temperature Indicator | R-1300
340 | TI/RH-33-13302 | Thermohygrometer Indicator | R-133
341 | TI/RH-33-13302. | Thermohygrometer Indicator | R-133
342 | WS-31-17701 | Weight | R-133
343 | WS-33-13307 | Weight | R-133
344 | WS-33-13308 | Weight | R-133
345 | WS-33-13309 | Weight | R-133
346 | WS-33-13310 | Weight | R-133
347 | WS-33-13311 | Weight | R-133
348 | WS-33-13313 | Weight | R-133
349 | WS-33-13319 | Weight | R-133
350 | WS-33-13322 | Weight | R-133
351 | WS-33-13323 | Weight | R-133
352 | WS-33-13325 | Weight | R-133
353 | WS-33-13326 | Weight | R-133
354 | WS-33-13327 | Weight | R-133
355 | WS-33-13328 | Weight | R-133
356 | BR-33-10308 | Balance Indicator | R-133
357 | BR-33-32802 | Balance Readout | R-133
358 | DPI-33-13302 | Differential Pressure | R-133
359 | DPI-33-13303 | Differential Pressure | R-133
360 | DPI-33-13304-MOV | Differential Pressure Gauge | R-133
361 | DPI-33-13305 | Differential Pressure | R-133
362 | BR-93-00101-A | Balance Indicator | R-133
363 | BR-93-00101-B | Balance Indicator | R-133
364 | THT-33-13301 | Temperatur Humidity trasmitter | R-133
365 | THT-33-13301. | Temperature Humidity Transmitter | R-133
366 | PI-16-30001-BC | Pressure Gauge | R-134
367 | PI-16-30001-TC | Pressure Gauge | R-134
368 | PI-16-30002-SC | Pressure Gauge | R-134
369 | PI-17-13403-HWT | Pressure Gauge | R-134
370 | TI-14-13401-BBL | Temperature Gauge | R-134
371 | TI-15-13401-L | Temperature Gauge | R-134
372 | TI-15-13402-L | Temperature Gauge | R-134
373 | TI-15-13403-L | Temperature Gauge | R-134
374 | TI-17-13401-HWT | Temperature Gauge | R-134
375 | TI-17-13402-HWT | Temperature Gauge | R-134
376 | TI-17-30001-STM | Temperature Gauge | R-134
377 | PSL-11-1351.1-PT | Pressure Switch Low | R-135
378 | PSL-11-13530-DMP | Pressure Switch Low | R-135
379 | I/P-11-13516.1-JB | I/P Converter | R-135
380 | I/P-11-1353.1-JB | I/P Converter | R-135
381 | CIT-11-13503-CB | Conductivity Transmitter | R-135
382 | CIT-11-13506-CB | Conductivity Transmitter | R-135
383 | CIT-11-13507-CB | Conductivity Meter | R-135
384 | CIT-11-13508-CB | Conductivity Meter | R-135
385 | CIT-11-13509-CB | Conductivity Meter | R-135
386 | PI-11-13501-DMP | Pressure Gauge | R-135
387 | PI-11-13501-RO | Pressure Gauge | R-135
388 | PI-11-13502-DMP | Pressure Gauge | R-135
389 | PI-11-13502-RO | Pressure Gauge | R-135
390 | PI-11-13503-DMP | Pressure Gauge | R-135
391 | PI-11-13503-RO | Pressure Gauge | R-135
392 | PI-11-13504-DMP | Pressure Gauge | R-135
393 | PI-11-13504-RO | Pressure Gauge | R-135
394 | PI-11-13505-DMP | Pressure Gauge | R-135
395 | PI-11-13506-DMP | Pressure Gauge | R-135
396 | PI-11-1351.1-PT | Pressure Gauge | R-135
397 | PI-11-1351.2-PT | Pressure Gauge | R-135
398 | PI-11-13516.2 | Pressure Gauge | R-135
399 | PI-11-1353.1-PT | Pressure Gauge | R-135
400 | PI-11-1353.2-PT | Pressure Gauge | R-135
401 | PI-11-1355.1A-DMP | Pressure Gauge | R-135
402 | PI-11-1355.1B-DMP | Pressure Gauge | R-135
403 | PI-11-1355.2A-DMP | Pressure Gauge | R-135
404 | PI-11-1355.2B-DMP | Pressure Gauge | R-135
405 | PI-11-1355.3A-DMP | Pressure Gauge | R-135
406 | PI-11-1355.3B-DMP | Pressure Gauge | R-135
407 | PI-11-1355.4A-DMP | Pressure Gauge | R-135
408 | PI-11-1355.4B-DMP | Pressure Gauge | R-135
409 | PI-11-1356.1A-DMP | Pressure Gauge | R-135
410 | PI-11-1356.1B-DMP | Pressure Gauge | R-135
411 | PI-11-1356.2A-DMP | Pressure Gauge | R-135
412 | PI-11-1356.2B-DMP | Pressure Gauge | R-135
413 | TC-11-1356.1-CB | Temperature Controller | R-135
414 | TC-11-1356.2-CB | Temperature Controller | R-135
415 | PI-13-40001-CHO | Pressure Gauge | R-135 A
416 | PI-13-40002-CHO | Pressure Gauge | R-135 A
417 | PI-13-40003-CHO | Pressure Gauge | R-135 A
418 | PI-13-40004-CHO | Pressure Gauge | R-135 A
419 | TI-13-40001-CHO | Temperature Gauge | R-135A
420 | TI-13-40002-CHO | Temperature Gauge | R-135A
421 | TI-13-40003-CHO | Temperature Gauge | R-135A
422 | TI-13-40004-CHO | Temperature Gauge | R-135A
423 | PI-11-136011-PMS | Pressure Gauge | R-136
424 | PI-11-136020.1-PSG | Pressure Gauge | R-136
425 | PI-11-136020-PSG | Pressure Gauge | R-136
426 | PI-11-13609-PMS | Pressure Gauge | R-136
427 | PI-11-13610.1-PWU | Pressure Gauge | R-136
428 | PI-11-13610.2-PWU | Pressure Gauge | R-136
429 | PI-11-13615.1-PWU | Pressure Gauge | R-136
430 | PI-11-13615.2-PMS | Pressure Gauge | R-136
431 | CIT-11-13605-CB | Conductivity Meter | R-136
432 | CIT-11-13606-CB | Conductivity Meter | R-136
433 | CIT-11-13607-CB | Conductivity Meter | R-136
434 | CIT-11-13608-CB | Conductivity Meter | R-136
435 | I/P-11-13610.10-CB | I/P Converter | R-136
436 | I/P-11-13610.5-CB | I/P Converter | R-136
437 | I/P-11-13615.15-CB | I/P Converter | R-136
438 | I/P-11-13615.1-CB | I/P Converter | R-136
439 | I/P-11-13620-CB | I/P Converter | R-136
440 | PSL-11-13609-PMS | Pressure Switch Low | R-136
441 | PSL-11-13610-PMS | Pressure Switch Low | R-136
442 | PSL-11-13611-PMS | Pressure Switch Low | R-136
443 | TI-12-13601 | Temperature Indicator | R-136
444 | TI-12-13602 | Temperature Indicator | R-136
445 | TI-12-13603 | Temperature Indicator | R-136
446 | TI-12-13604 | Temperature Indicator | R-136
447 | TI-12-13605 | Temperature Indicator | R-136
448 | TI-12-13606 | Temperature Indicator | R-136
449 | TI-12-13607 | Temperature Indicator | R-136
450 | R-11-13602-PMS | Temperature Recorder | R-136
451 | PT-11-13610.1-WPU | Pressure Transmitter | R-136
452 | PT-11-13615.1-PMS | Pressure Transmitter | R-136
453 | PT-11-13620-PSG | Pressure Transmitter | R-136
454 | TC-23-13701 | Temperature Controller | R-137
455 | WS-21-13718 | Weight | R-139
456 | WS-21-13736 | Weight | R-139
457 | WS-21-13737 | Weight | R-139
458 | WS-21-13738 | Weight | R-139
459 | TI/RH-24-14001 | Temperature/Humidity Indicator | R-140
460 | TI/RH-24-14001. | Temperature/Humidity Indicator | R-140
461 | PI-24-14005 | Pressure Gauge | R-140
462 | DPS-24-14001 | Differential Pressure Switch | R-140
463 | DPS-24-14002 | Differential Pressure Switch | R-140
464 | DPS-24-14003 | Differential Pressure Switch | R-140
465 | DPS-24-14004 | Differential Pressure Switch | R-140
466 | TI-99-1400-003 | Temperature Indicator | R-1400
467 | TI-99-1400-004 | Temperature Indicator | R-1400
468 | TI-24-14101 | Temperature Indicator | R-141
469 | TI-25-14201 | Temperature Indicator | R-142
470 | R-25-14202-KRG-CH1 | Recorder | R-142
471 | R-25-14202-KRG-CH2 | Recorder | R-142
472 | R-25-14202-KRG-CH3 | Recorder | R-142
473 | PT-25-14201-KRG | Pressure Transmitter | R-142
474 | TSL-25-14201 | Temperature Switch | R-142
475 | TT-25-14201-KRG | Temperature Transmitter | R-142
476 | TI-25-14202 | Temperature Indicator | R-142
477 | PI-25-30001-KRG | Pressure Gauge | R-142
478 | PI-25-30002-KRG | Pressure Gauge | R-142
479 | WS-21-13712 | Weight | R-143
480 | WS-21-13713 | Weight | R-143
481 | WS-21-13714 | Weight | R-143
482 | WS-21-13715 | Weight | R-143
483 | WS-21-13716 | Weight | R-143
484 | WS-21-13717 | Weight | R-143
485 | BR-25-14302 | Balance Indicator | R-143
486 | TI-25-14401-A | Temperature Indicator | R-144A
487 | TI-25-14402-A | Temperature Indicator | R-144A
488 | PI-29-144A01 | Pressure Indicator | R-144A
489 | TI-25-14403-B | Temperature Indicator | R-144B
490 | TI-25-14404-B | Temperature Indicator | R-144B
491 | PI-25-14401-B | Pressure Gauge | R-144B
492 | PI-25-14402-B | Pressure Gauge | R-144B
493 | PI-25-14404-B | Pressure Gauge | R-144B
494 | PI-24-14503 | Pressure Gauge | R-145
495 | PI-24-14511 | Pressure Gauge | R-145
496 | TI-99-5100-005 | Temperature Indicator | R-1500
497 | BR-21-15101 | Balance Indicator | R-151
498 | BR-21-15102 | Balance Indicator | R-151
499 | DPI-21-15101 | Differential Pressure Digital | R-151
500 | PI-21-15101 | Pressure Gauge | R-151
501 | PI-21-15102 | Vacuum Gauge | R-151
502 | TM-21-15101 | Timer | R-151
503 | TM-21-15102 | Timer | R-151
504 | TM-21-15103 | Timer | R-151
505 | TM-21-15104 | Timer | R-151
506 | DPI-21-15203 | Differential Pressure Digital | R-152
507 | BR-21-16501 | Balance Indicator | R-153
508 | BR-21-31601 | Balance Indicator | R-153
509 | TI-21-15302 | Valprobe II Logger Kaye | R-153
510 | WS-21-13739 | Weight | R-153
511 | WS-21-13740 | Weight | R-153
512 | WS-21-13741 | Weight | R-153
513 | WS-21-13742 | Weight | R-153
514 | WS-21-13743 | Weight | R-153
515 | WS-21-13744 | Weight | R-153
516 | WS-21-13745 | Weight | R-153
517 | WS-21-13746 | Weight | R-153
518 | WS-21-13701 | Weight | R-153
519 | WS-21-13702 | Weight | R-153
520 | WS-21-13703 | Weight | R-153
521 | WS-21-13704 | Weight | R-153
522 | WS-21-13705 | Weight | R-153
523 | WS-21-13706 | Weight | R-153
524 | WS-21-13707 | Weight | R-153
525 | WS-21-13708 | Weight | R-153
526 | BR-21-15401 | Balance Indicator | R-154
527 | DPI-21-15403 | Differential Pressure Digital | R-154
528 | TM-21-15401 | Timer | R-154
529 | TM-21-15402 | Timer | R-154
530 | TM-21-15404 | Timer | R-154
531 | PI-21-15401 | Pressure Gauge | R-154
532 | PI-21-15403 | Pressure Gauge | R-154
533 | PI-21-15404 | Pressure Gauge | R-154
534 | PI-21-15501 | Vacuum Gauge | R-155
535 | DPI-21-15501 | Differential Pressure Digital | R-155
536 | BR-21-16502 | Balance Indicator | R-155
537 | DPI-21-15603 | Differential Pressure Digital | R-156
538 | DPI-21-15703 | Differential Pressure Digital | R-157
539 | TC-21-15701-DK | Temperature Controller | R-157
540 | TC-21-15702-DK | Temperature Controller | R-157
541 | TC-21-15703-DK | Temperature Controller | R-157
542 | TC-21-15704-DK | Temperature Controller | R-157
543 | RH-21-15802 | Temperature & RH Indicator | R-158
544 | TI-21-15802 | Temperature & RH Indicator | R-158
545 | DPI-21-15803 | Differential Pressure Digital | R-158
546 | TT-21-15801-UHL | Temperature Transmitter | R-158
547 | TT-21-15802-UHL | Temperature Transmitter | R-158
548 | TT-21-15803-UHL | Temperature Transmitter | R-158
549 | PI-21-15801-UHL | Pressure Gauge | R-158
550 | PI-21-15802-UHL | Pressure Gauge | R-158
551 | PI-21-15803-UHL | Pressure Gauge | R-158
552 | PI-21-15804-UHL | Pressure Gauge | R-158
553 | DPI-21-16001 | Differential Pressure | R-160
554 | DPI-21-16002 | Differential Pressure Digital | R-160
555 | PI-21-16002 | Pressure Gauge | R-160
556 | PI-21-16003 | Pressure Gauge | R-160
557 | BR-93-02102 | Balance Indicator | R-160
558 | FM-21-16001 | Flow Meter | R-160
559 | TI-21-16603 | Temperature Indicator | R-160
560 | TC-21-16004 | Temperature Controller | R-160
561 | THT-21-16001 | Temperatur Humidity trasmitter | R-160
562 | THT-21-16001. | Temperature Humidity Transmitter | R-160
563 | TI-39-18102-CMGS | Temperature Indicator | R-1600
564 | TI-99-1600-002 | Temperature Indicator | R-1600
565 | DPI-21-16204 | Differential Pressure Digital | R-162
566 | PI-21-16201 | Pressure Indicator | R-162
567 | DPI-21-16303 | Differential Pressure Digital | R-163
568 | DPI-21-16403 | Differential Pressure Digital | R-164
569 | PI-21-16401 | Pressure Indicator | R-164
570 | DPI-21-16501 | Differential Pressure Digital | R-165
571 | BR-21-15502 | Balance Indicator | R-165
572 | DPI-21-16603 | Differential Pressure Digital | R-166
573 | TI-21-16604 | Temperature Indicator | R-166
574 | TC-21-16602 | Temperature Controller | R-166
575 | PI-21-16601 | Pressure Gauge | R-166
576 | PI-21-16602 | Pressure Gauge | R-166
577 | PI-21-16603 | Pressure Gauge | R-166
578 | PI-21-16604 | Pressure Gauge | R-166
579 | THT-21-16701 | Temperatur Humidity trasmitter | R-167
580 | THT-21-16701. | Temperature Humidity Transmitter | R-167
581 | DPI-21-16703 | Differential Pressure Digital | R-167
582 | BR-93-02101 | Balance Indicator | R-167
583 | DPI-21-16803 | Differential Pressure Digital | R-168
584 | TC-21-16801 | Temperature Controller | R-168
585 | TI/RH-21-16801 | Temperature/Humidity Indicator | R-168
586 | TI/RH-21-16801. | Temperature/Humidity Indicator | R-168
587 | TI/RH-21-16802 | Thermohygrometer Indicator | R-168
588 | TI/RH-21-16802. | Thermohygrometer Indicator | R-168
589 | TI-99-1700-004 | Temperature Indicator | R-1700
590 | TI-99-1700-005 | Temperature Indicator | R-1700
591 | TI-99-1700-006 | Temperature Indicator | R-1700
592 | TI-41-18202 | Temperature Indicator | R-182
593 | TI-41-18305 | Temperature Indicator | R-183
594 | TI-41-18306 | Temperature Indicator | R-183
595 | DPI-26-18501-COM | Differential Pressure | R-185
596 | DPI-26-18502-COM | Differential Pressure | R-185
597 | DPI-26-18504-COM | Differential Pressure | R-185
598 | DPI-26-18505-COM | Differential Pressure | R-185
599 | DPI-26-18506-COM | Differential Pressure | R-185
600 | DPI-26-18507-COM | Differential Pressure | R-185
601 | TI-25-19102 | Temperature Indicator | R-190
602 | TI-25-19101 | Temperature Mixing Tank 1000L | R-191
603 | TC-27-19102 | Temperature Controller | R-191
604 | TI-27-19101 | Temperature Indicator | R-191
605 | WS-21-13709 | Weight | R-192
606 | WS-21-13710 | Weight | R-192
607 | WS-21-13711 | Weight | R-192
608 | TI-27-19302 | Temperature Indicator | R-193
609 | TT-12-20301 | Temperature Transmitter | R-203
610 | TT-12-20401 | Temperature Transmitter | R-204
611 | TI/RH-41-20901 | Temperature Room Indicator | R-209
612 | TI/RH-41-20901. | Humidity Room Indicator | R-209
613 | TI-41-21001 | Temperature Room Indicator | R-210
614 | TI-41-21011 | Thermometer of Pycnometer | R-210
615 | TI-41-21012 | Thermometer of Pycnometer | R-210
616 | TI-41-21013 | Thermometer of Pycnometer | R-210
617 | TI-41-21014 | Thermometer of Pycnometer | R-210
618 | TI-41-21401 | Temperature Indicator | R-210
619 | TC-41-21019-FRN | Temperature Controller | R-210
620 | TC-41-21001-INC | Temperature Controller | R-210
621 | TC-41-21017 | Temperature Controller | R-210
622 | TC-41-21003 | Temperature Controller | R-210
623 | TC-41-21004 | Temperature Controller | R-210
624 | TC-41-21005 | Oil Bath | R-210
625 | TI-42-25908 | Temperature Indicator | R-210
626 | TI-42-25907 | Temperature Indicator | R-212
627 | TI/RH-41-21201 | Temperature Room Indicator | R-212
628 | TI/RH-41-21201. | Humidity Room Indicator | R-212
629 | TI/RH-41-21301 | Temperature Room Indicator | R-213
630 | TI/RH-41-21301. | Humidity Room Indicator | R-213
631 | TC-41-21001-OVN | Temperature Controller | R-213
632 | TI-42-21702 | Temperature Indicator | R-217
633 | DPI-26-25101 | Differential Pressure | R-251
634 | DPI-26-25102 | Differential Pressure | R-251
635 | DPI-26-25103 | Differential Pressure | R-251
636 | DPI-26-25104 | Differential Pressure | R-251
637 | DPI-26-25105 | Differential Pressure | R-251
638 | DPI-26-25106 | Differential Pressure | R-251
639 | DPI-26-25107 | Differential Pressure | R-251
640 | DPI-26-25108 | Differential Pressure | R-251
641 | DPT-42-25301 | Differential Pressure Transmitter | R-253
642 | DPT-42-25302 | Differential Pressure Transmitter | R-253
643 | RH-42-25301 | Hygrometer | R-253
644 | TI-42-25302 | Temperature Transmitter | R-253
645 | TI-42-25303 | Temperature Indicator | R-253
646 | TT-42-25301 | Temperature Transmitter | R-253
647 | WS-42-25701 | Anak Timbangan | R-256
648 | WS-42-25702 | Anak Timbangan | R-256
649 | WS-42-25703 | Anak Timbangan | R-256
650 | WS-42-25704 | Anak Timbangan | R-256
651 | TI-42-25602 | Temperature Indicator | R-256
652 | DPI-42-25601-BSC | Differential Pressure Gauge | R-256
653 | DPI-26-25701 | Differential Pressure | R-257
654 | PT-42-25701-GET | Pressure Transmitter | R-257
655 | PSL-26-25701-GET | Pressure Switch Low | R-257
656 | PSL-42-25701 | Pressure Switch Low | R-257
657 | PSL-42-25702 | Pressure Switch Low | R-257
658 | TI-42-21002 | Temperature Indicator | R-257
659 | TC-41-21202-HTP | Temperature Controller | R-257
660 | TI-42-25701-GET | Temperature Indicator | R-257
661 | TI-42-25703 | Temperature Indicator | R-257
662 | TI-42-25705 | Temperature Indicator | R-257
663 | TI-42-25708-WTB | Water Bath | R-257
664 | TT-26-25702-GET | Temperature Transmitter | R-257
665 | TT-26-25703-GET | Temperature Transmitter | R-257
666 | TM-26-25701 | Timer | R-257
667 | PI-42-25701 | Pressure Indicator | R-257
668 | PI-42-25702 | Pressure Indicator | R-257
669 | TC-41-21201-WTB | Temperature Controller | R-258
670 | TC-42-25901-INC | Temperature Controller | R-259
671 | TC-42-25901-OVN | Temperature Controller | R-259
672 | TC-42-25902 | Temperature Controller | R-259
673 | TC-42-25903-FRI | Temperature Controller | R-259
674 | TI/RH-42-25910 | Temperature Room Indicator | R-259
675 | TI/RH-42-25910. | Humidity Room Indicator | R-259
676 | TI-26-25901-PRC | Temperature Indicator | R-259
677 | TI-26-25902-PRC | Temperature Indicator | R-259
678 | TI-42-25915 | Temperature Indicator | R-259
679 | TI-42-25903 | Temperature Indicator | R-259
680 | TI-42-25707 | BOD Inkubator | R-259
681 | TI-42-25911 | Temperature Indicator | R-259
682 | TI-42-25912 | Temperature Indicator | R-259
683 | TI-42-25914 | Temperature sensor | R-259
684 | TM-21-30101 | Sensor Current Step Time Indicator | R-301
685 | PT-21-30102 | Pressure For Convert to Flow Indicator | R-301
686 | TI-21-30105 | Temperature Indicator | R-301
687 | DPI-12-30101-GLT | Differential Pressure Gauge | R-301
688 | DPI-12-30102-GLT | Differential Pressure Gauge | R-301
689 | TI-21-30101 | Temperature Indicator | R-301
690 | TI-21-30102 | Temperature Indicator | R-301
691 | TI-21-30103 | Temperature Indicator | R-301
692 | TI-21-30104 | Sensor Bypass Temperature Indicator | R-301
693 | PT-21-30101 | Pressure For Convert to Flow Indicator | R-301
694 | DPI-21-30104 | Differential Pressure Digital | R-301
695 | DPI-21-30105 | Differential Pressure Indicator | R-301
696 | DPI-21-30106 | Differential Pressure Indicator | R-301
697 | DPI-21-30107 | Differential Pressure Indicator | R-301
698 | DPI-21-30203 | Differential Pressure Digital | R-302
699 | TI/RH-21-30202 | Temperature & RH Indicator | R-302
700 | TI/RH-21-30202. | Temperature & RH Indicator | R-302
701 | TC-11-30401 | Temperature Controller | R-304
702 | TC-11-30402 | Temperature Controller | R-304
703 | PI-11-30401-CH | Pressure Gauge | R-304
704 | PI-11-30402-CH | Pressure Gauge | R-304
705 | PI-11-30403-CH | Pressure Gauge | R-304
706 | PI-11-30404-CH | Pressure Gauge | R-304
707 | PI-11-30405-CH | Pressure Gauge | R-304
708 | PI-11-30406-CH | Pressure Gauge | R-304
709 | PI-11-30501-CH | Pressure Gauge | R-305
710 | PI-11-30502-CH | Pressure Gauge | R-305
711 | PI-11-30503-CH | Pressure Gauge | R-305
712 | PI-11-30504-CH | Pressure Gauge | R-305
713 | PI-11-30505-CH | Pressure Gauge | R-305
714 | SV-11-30501-OFA | Safety Valve | R-305
715 | SV-11-30502-OFA | Safety Valve | R-305
716 | PI-11-30501-OFA | Pressure Gauge | R-305
717 | PI-11-30502-OFA | Pressure Gauge | R-305
718 | PI-11-30503-OFA | Pressure Gauge | R-305
719 | PI-11-30504-OFA | Pressure Gauge | R-305
720 | PI-11-30505-OFA | Pressure Gauge | R-305
721 | TC-11-30501-CT | Temperature Transmitter | R-305
722 | CIT-11-30602 | Conductivity Meter | R-306
723 | CIT-19-30601 | Conductivity Transmitter | R-306
724 | TT-12-30601 | Temperature Transmitter | R-306
725 | PI-11-30601 | Pressure Indicator | R-306
726 | PI-11-30602 | Pressure Indicator | R-306
727 | PI-11-30603 | Pressure Indicator | R-306
728 | PI-11-30604 | Pressure Indicator | R-306
729 | PI-11-30605 | Pressure Indicator | R-306
730 | PI-11-30606 | Pressure Indicator | R-306
731 | PI-11-30607 | Pressure Indicator | R-306
732 | PI-11-30608 | Pressure Indicator | R-306
733 | PS-11-30601 | Pressure Switch | R-306
734 | PS-11-30602 | Pressure Switch | R-306
735 | PS-11-30603 | Pressure Switch | R-306
736 | PS-11-30604 | Pressure Switch | R-306
737 | PI-19-30601 | Pressure Gauge | R-306
738 | PI-19-30602 | Pressure Gauge | R-306
739 | PI-19-30603 | Pressure Gauge | R-306
740 | PI-19-30604 | Pressure Gauge | R-306
741 | PI-19-30605 | Pressure Gauge | R-306
742 | PI-19-30606 | Pressure Gauge | R-306
743 | PI-19-30607 | Pressure Gauge | R-306
744 | PI-19-30608 | Pressure Gauge | R-306
745 | PI-19-30609 | Pressure Gauge | R-306
746 | TI-11-30601 | Temperature Indicator | R-306
747 | TI-11-30602 | Temperature Indicator | R-306
748 | TT-12-30701 | Temperature Transmitter | R-307
749 | TT-12-30801 | Temperature Transmitter | R-308
750 | TT-12-30901 | Temperature Transmitter | R-309
751 | TT-12-31001 | Temperature Transmitter | R-310
752 | TT-21-31001 | Temperature Transmitter | R-310
753 | TT-21-31002 | Temperature Transmitter | R-310
754 | TT-21-31003 | Temperature Transmitter | R-310
755 | TT-21-31004 | Temperature Transmitter | R-310
756 | DPI-21-31001 | Differential Pressure Digital | R-310
757 | PI-21-31001 | Pressure Gauge | R-310
758 | PI-21-31002 | Pressure Gauge | R-310
759 | PI-21-31003 | Pressure Indicator | R-310
760 | PI-21-31101-UHL | Pressure Gauge | R-311
761 | PI-21-31102-UHL | Pressure Gauge | R-311
762 | DPI-21-31101 | Differential Pressure Digital | R-311
763 | TC-21-31101-UHL | Temperature Controller | R-311
764 | TC-21-31102-UHL | Temperature Controller | R-311
765 | TC-21-31103-UHL | Temperature Controller | R-311
766 | TI/RH-21-31201 | Temperature/Humidity Indicator | R-312
767 | TI/RH-21-31201. | Temperature/Humidity Indicator | R-312
768 | DPI-21-31201 | Differential Pressure Digital | R-312
769 | DPI-21-31301 | Differential Pressure Digital | R-313
770 | DPI-21-31301-LAF | Differential Pressure | R-313
771 | TI-21-31401 | Temperature Indicator | R-314
772 | BR-33-32804 | Balance Readout | R-316
773 | PI-21-31702 | Pressure Indicator | R-317
774 | DPT-21-31701 | Differential Pressure Transmitter | R-317
775 | PI-21-31701 | Pressure Indicator | R-317
776 | PI-21-31802 | Pressure Indicator | R-318
777 | DPT-21-31801 | Differential Pressure Transmitter | R-318
778 | BR-21-15501 | Balance Indicator | R-318
779 | PI-21-31801 | Pressure Indicator | R-318
780 | PI-21-31901 | Pressure Indicator | R-319
781 | TM-21-31902 | Timer Indicator | R-319
782 | PI-21-31902 | Pressure Indicator | R-319
783 | PI-21-31903 | Pressure Indicator | R-319
784 | TM-21-31901 | Timer | R-319
785 | TM-21-31903 | Timer | R-319
786 | TM-21-31904 | Timer | R-319
787 | DPT-21-31901 | Differential Pressure Transmitter | R-319
788 | DPT-21-32101 | Differential Pressure Transmitter | R-321
789 | FM-21-32101 | Flow Meter | R-321
790 | PI-21-32101 | Pressure Gauge | R-321
791 | PI-21-32102 | Pressure Gauge | R-321
792 | PI-21-32103 | Pressure Gauge | R-321
793 | PI-21-32104 | Pressure Gauge | R-321
794 | BR-33-10307 | Balance Indicator | R-321
795 | TI-21-32101 | Temperature Indicator | R-321
796 | TI-21-32102 | Temperature Indicator | R-321
797 | TI-21-32103 | Temperature Indicator | R-321
798 | TC-21-15503 | Temperature Controller | R-323
799 | PT-21-32301 | Pressure Transmitter | R-323
800 | BR-21-15503 | Balance Indicator | R-323
801 | PI-21-32301 | Pressure Gauge | R-323
802 | PI-21-32302 | Pressure Gauge | R-323
803 | FT-21-32301 | Air Flow Sensor | R-323
804 | DPT-21-32301 | Differential Pressure Transmitter | R-323
805 | TT-21-32301 | Temperature Transmitter | R-323
806 | TT-21-32302 | Temperature Transmitter | R-323
807 | TT-21-32303 | Temperature Transmitter | R-323
808 | DPI-21-32301 | Differential Pressure Indicator | R-323
809 | PI-21-32307 | Pressure Indicator | R-323
810 | PI-21-32304 | Pressure Indicator | R-323
811 | PI-21-32305 | Pressure Indicator | R-323
812 | PI-21-32306 | Pressure Indicator | R-323
813 | PI-21-32303 | Pressure Indicator | R-323
814 | PI-21-32401 | Pressure Indicator | R-324
815 | PI-21-32402 | Pressure Indicator | R-324
816 | PI-21-32403 | Pressure Indicator | R-324
817 | PI-21-32404 | Pressure Indicator | R-324
818 | PI-21-32405 | Pressure Indicator | R-324
819 | DPT-21-32401 | Differential Pressure Transmitter | R-324
820 | BR-33-32805 | Balance Indicator | R-328
821 | BR-33-32803 | Balance Readout | R-328
822 | DPI-33-32801 | Differential Pressure Gauge | R-328
823 | DPI-33-32802 | Differential Pressure Gauge | R-328
824 | DPI-33-32803 | Differential Pressure Gauge | R-328
825 | TI/RH-33-32801 | Temperature/Humidity Indicator | R-328
826 | TI/RH-33-32801. | Temperature/Humidity Indicator | R-328
827 | PSL-17-33201 | Pressure Switch Low | R-332
828 | PSL-17-33202 | Pressure Switch Low | R-332
829 | PSL-17-33203 | Pressure Switch | R-332
830 | PI-17-33201 | Pressure Gauge | R-332
831 | PI-17-33202 | Pressure Gauge | R-332
832 | PI-17-33203 | Pressure Gauge | R-332
833 | PI-17-33204 | Pressure Gauge | R-332
834 | PI-17-33205 | Pressure Gauge | R-332
835 | PI-17-33206 | Pressure Gauge | R-332
836 | PI-17-13402-WT | Pressure Gauge | R-332
837 | SV-17-33201 | Safety Valve | R-332
838 | SV-17-33202 | Safety Valve | R-332
839 | PI-11-33401-BMI | Pressure Gauge | R-334
840 | PI-11-33401-HD | Pressure Gauge | R-334
841 | PI-11-33402-HD | Pressure Gauge | R-334
842 | PI-11-33402-TK | Pressure Gauge | R-334
843 | PI-11-33403-BMI | Pressure Gauge | R-334
844 | PI-11-33404-BMI | Pressure Gauge | R-334
845 | PSL-11-33403 | Pressure Switch Low | R-334
846 | TI-11-33401-BMI | Temperature Indicator | R-334
847 | TI-11-33401-HW | Temperature Indicator | R-334
848 | TI-11-33402-BMI | Temperature Indicator | R-334
849 | TI-11-33403-BMI | Temperature Indicator | R-334
850 | TI-11-33404-BMI | Temperature Indicator | R-334
851 | TI-11-33405-BMI | Temperature Indicator | R-334
852 | TI-11-33406-BMI | Temperature Indicator | R-334
853 | PI-11-33403-HD | Pressure Gauge | R-334
854 | PI-11-33404-HD | Pressure Gauge | R-334
855 | PI-11-33405-HD | Pressure Gauge | R-334
856 | PI-11-33406-HD | Pressure Gauge | R-334
857 | PI-11-33407-HD | Pressure Gauge | R-334
858 | PI-11-33402-BMI | Pressure Gauge | R-334
859 | PSL-11-33401-BMI | Pressure Switch Low | R-334
860 | PSL-11-33402-BMI | Pressure Switch Low | R-334
861 | TC-11-33401-HW | Temperature Controller | R-334
862 | TI-99-5100-003 | Temperature Indicator | R-5100
863 | TI-99-5100-004 | Temperature Indicator | R-5100
864 | TI-99-5200-003 | Temperature Indicator | R-5200
865 | TI-99-5200-004 | Temperature Indicator | R-5200
866 | RH-99-5300-001 | RH Indicator (Hygrometer) | R-5300
867 | RH-99-5300-002 | RH Indicator (Hygrometer) | R-5300
868 | TI/RH-99-5300-002 | Thermohygrometer Indicator | R-5300
869 | TI/RH-99-5300-002. | Thermohygrometer Indicator | R-5300
870 | TI-99-5400-002 | Temperature Indicator | R-5400
871 | TI-99-5Q001-003 | Temperature Indicator | R-5Q001
872 | TI-99-5Q001-004 | Temperature Indicator | R-5Q001
873 | TI-99-5Q002-003 | Temperature Indicator | R-5Q002
874 | TI-99-5Q002-004 | Temperature Indicator | R-5Q002
875 | TC-19-33201 | Temperature Control | R-Genset
876 | RH-41-21010 | RH Recorder | R-Stability
877 | RH-41-21011 | RH Recorder | R-Stability
878 | RH-41-21012 | RH Recorder | R-Stability
879 | RH-41-21013 | RH Recorder | R-Stability
880 | RH-41-21014 | RH Recorder | R-Stability
881 | RH-41-21015 | RH Recorder | R-Stability
882 | RH-41-21016 | RH Recorder | R-Stability
883 | RH-41-21018 | RH Recorder | R-Stability
884 | RH-41-21019 | Chamber | R-Stability
885 | TC-41-21018 | Temperature Transmitter | R-Stability
886 | TC-41-21019 | Chamber | R-Stability
887 | TC-41-21010 | Temperature Controller | R-Stability
888 | TC-41-21011 | Temperature Transmitter | R-Stability
889 | TC-41-21012 | Temperature Transmitter | R-Stability
890 | TC-41-21013 | Temperature Transmitter | R-Stability
891 | TC-41-21014 | Temperature Transmitter | R-Stability
892 | TC-41-21015 | Temperature Transmitter | R-Stability
893 | TC-41-21016 | Temperature Transmitter | R-Stability
894 | U-079 | Hand Dryer | Raw Goods Warehouse
895 | HF-31-11401 | HEPA Ceiling | Sampling booth
896 | HF-31-11402 | HEPA Ceiling | Sampling booth
897 | HF-31-11403 | HEPA Ceiling | Sampling booth
898 | HF-31-11404 | HEPA Ceiling | Sampling booth
899 | HF-31-11405 | HEPA Ceiling | Sampling booth
900 | HF-31-11406 | HEPA Ceiling | Sampling booth
901 | HF-31-11407 | HEPA Ceiling | Sampling booth
902 | HF-31-11408 | HEPA Ceiling | Sampling booth
903 | HF-31-11409 | HEPA Ceiling | Sampling booth
904 | TI-31-18101 | Temperature Indicator | Storage Cold Box
905 | TI-31-10201-WH | Temperature Gauge | Storage Coldbox
906 | TI-99-Truck-001 | Temperature Indicator | Truck Box
907 | U-089 | Hand Dryer | Uniform
908 | U-080 | Tapproge CCS 1 | Utilities Area
909 | U-080-2 | Tapproge CCS 2 | Utilities Area
910 | U-081 | Reverse Osmosis Demin | Utilities Area
911 | U-082 | Holding Tank Oil Free | Utilities Area
912 | U-083 | Cooling water pump 2 | Utilities Area
913 | U-084 | Chiller water pump 2 | Utilities Area
914 | U-070 | Fuel Main Tank 2 | Utilities Area
915 | U-075 | Trane 1 Chiller | Utilities Area
916 | U-075-2 | Trane 2 Chiller | Utilities Area
917 | U-076 | Cooling water pump 1 | Utilities Area
918 | U-077 | Chiller water pump 1 | Utilities Area
919 | U-052 | Waste Water Pump | Utilities Area
920 | U-055 | WPU tank and loop | Utilities Area
921 | U-056 | WFI tank and loop | Utilities Area
922 | U-057 | WFI production | Utilities Area
923 | U-042 | Oil Free Air ZT-37 | Utilities Area
924 | U-043-1 | Blower 1 | Utilities Area
925 | U-043-2 | Blower 2 | Utilities Area
926 | U-044 | Sand Filter Pump Waste Water 1 | Utilities Area
927 | U-045 | Carbon Filter Pump Waste Water 2 | Utilities Area
928 | U-046 | Electric Drying | Utilities Area
929 | U-015 | Air Compressor 1 | Utilities Area
930 | U-016 | Air Compressor 2 | Utilities Area
931 | U-018-1 | Air Dryer 1 | Utilities Area
932 | U-018-2 | Air Dryer 2 | Utilities Area
933 | U-019 | Hot Water Mixing Tank | Utilities Area
934 | U-020 | Hot Water Pump | Utilities Area
935 | U-021 | Hot Water Storage Tank | Utilities Area
936 | U-021-2 | Potable Water Tank A | Utilities Area
937 | U-022 | Submersible Pump No.2 | Utilities Area
938 | U-024 | Well W. Main Tank 50 M3 | Utilities Area
939 | U-025 | Well W. Main Tank 100 M3 | Utilities Area
940 | U-026 | Transfer Pump | Utilities Area
941 | U-027 | Degisifier | Utilities Area
942 | U-028 | Clorinator | Utilities Area
943 | U-029 | Sand Filter | Utilities Area
944 | U-030 | Daily Well Water Pump 1 (PW A) | Utilities Area
945 | U-031 | Daily Well Water Pump 2 (PW B) | Utilities Area
946 | U-036 | Demi Plant Unit | Utilities Area
947 | U-037 | PSG Unit | Utilities Area
948 | U-038 | Neutralizer Unit | Utilities Area
949 | AC-001 | Dehumidifier 14-2 | Utilities Area
950 | AC-002 | Dehumidifier 9-3 | Utilities Area
951 | PI-11-33201 | Pressure Indicator | Utility
952 | PI-11-33202 | Pressure Indicator | Utility
953 | PI-17-40001-HP | Pressure Gauge | Utility Area
954 | PI-17-40001-PG | Pressure Gauge | Utility Area
955 | PI-17-40002-HP | Pressure Gauge | Utility Area
956 | PI-17-40002-PG | Pressure Gauge | Utility Area
957 | PI-17-40003-HP | Pressure Gauge | Utility Area
958 | PI-17-40003-SF | Pressure Gauge | Utility Area
959 | PI-17-40004-SF | Pressure Gauge | Utility Area
960 | PI-17-40005-FP | Pressure Gauge | Utility Area
961 | PI-19-33201 | Pressure Indicator | Utility Area
962 | PI-19-33202 | Pressure Indicator | Utility Area
963 | U-050 | Holding Tank Air Compressor | Utility Area
964 | U-111 | AiCool Chiller | Utility Area
965 | U-112 | OFA Compressor Water Lubricated 2 | Utility Area
966 | U-113 | Water Filter 5 Ã‚Âµ for Mitshui Seiki Compressor 2 | Utility Area
967 | U-114 | Chlorinator 2 | Utility Area
968 | U-091 | Holding Tank for Boiler | Utility Area
969 | U-096 | Miura Boiler 1 | Utility Area
970 | U-097 | Miura Boiler 2 | Utility Area
971 | U-098 | Reverse Osmosis Raw Water | Utility Area
972 | U-099 | Carbon Filter Raw Water | Utility Area
973 | U-100 | Dessicant Dryer | Utility Area
974 | U-101 | OFA Compressor Water Lubricated | Utility Area
975 | U-102 | Yamaha Sand & Corbon Water Filter | Utility Area
976 | U-104 | Water Filter 5 Ã‚Âµ for Mitshui Seiki Compressor | Utility Area
977 | U-109 | Potable Water Tank B | Utility Area
978 | CSV-004-00 | BMS Gandaria SCADA/BMS web View | Utility Control Room
979 | HF-24-12903 | HEPA Ceiling | UV
980 | HF-25-14401-A | HEPA Ceiling | Visine Coump
981 | HF-24-14014 | HEPA Ceiling | Visine Liq
982 | HF-24-14015 | HEPA Ceiling | Visine Liq
983 | HF-24-14016 | HEPA Ceiling | Visine Liq
984 | HF-24-14017 | HEPA Ceiling | Visine Liq
985 | HF-24-14005-PI8 | Laminar Air Flow | Visine Liq
986 | HF-24-14006-PI8 | Laminar Air Flow | Visine Liq
987 | HF-24-14007-PI8 | Laminar Air Flow | Visine Liq
988 | HF-24-14008-PI8 | Laminar Air Flow | Visine Liq
989 | HF-24-14009-P18 | Laminar Air Flow | Visine Liq
990 | HF-24-12501-P25 | Laminar Air Flow | Visine Liq
991 | AC-052 | AHU System 23 | Ware house
992 | AC-067 | Dehumidifier | Warehouse
993 | HF-23-12301-P21 | Laminar Air Flow | Washing Str
994 | HF-23-12302-P21 | Laminar Air Flow | Washing Str
995 | HF-23-12303-P21 | Laminar Air Flow | Washing Str
996 | HF-23-12304-P21 | Laminar Air Flow | Washing Str
997 | HF-23-12305-P21 | Laminar Air Flow | Washing Str
998 | None | None | None
999 | P-108-1 | HomogenizerSilverson AXFP | 108
1000 | P-108-2 | HomogenizerSilverson BX | 108
1001 | P-108-5 | Drum Hoop MixerJ. Engelsmann AKT.Ges | 108
1002 | P-109-1 | Drying machineElectrolux | 109Washing
1003 | P-110-1 | Conveyor for UhlmanTai Sen | 110Packaging
1004 | P-110-13 | Conveyor for IWKAPfizer | 110Packaging
1005 | P-110-16 | Folding MachineGUK-G2-1 | 110Packaging
1006 | P-110-27 | Labelling MachineAvery | 110Packaging
1007 | P-110-3 | Conveyor TableIsland Equipment | 110Packaging
1008 | P-110-36 | Cartoning MachineIMA K-150 (Visine) | 110Packaging
1009 | P-110-37 | Cartoning MachineIMA K-150 (Ointment) | 110Packaging
1010 | P-110-4 | Conveyor for Duan KweiTax Iron Factory | 110Packaging
1011 | P-110-40 | Gluing Machine (Visine)Nordson | 110Packaging
1012 | P-110-41 | Gluing Machine (Ointment)Nordson | 110Packaging
1013 | P-110-42 | Shrink WrapperAutopack | 110Packaging
1014 | P-110-43 | Labelling MachineKK916 | 110Packaging
1015 | P-110-44 | Labeling MachineKK806 | 110Packaging
1016 | P-110-46 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1017 | P-110-48 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1018 | P-110-50 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1019 | P-110-51 | Meja Inspeksi Visine | 110Packaging
1020 | P-110-52 | TorquemeterProto | 110Packaging
1021 | P-110-54 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1022 | P-110-55 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1023 | P-110-56 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1024 | P-110-57 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1025 | P-110-58 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1026 | P-110-59 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1027 | P-110-61 | Checkweigher UhlmanAnritsu | 110Packaging
1028 | P-110-62 | Checkweigher FamarAnritzu | 110Packaging
1029 | P-110-66 | Plakban SealerBest Pack | 110Packaging
1030 | P-110-67 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1031 | P-110-68 | Folding MachineGUK FA-36/4 | 110Packaging
1032 | P-110-69 | CheckweigherAnritsu | 110Packaging
1033 | P-110-7 | Shrink WrapperToyo Doboy | 110Packaging
1034 | P-110-70 | CheckweigherAnritsu | 110Packaging
1035 | P-110-71 | Cartoning MachineJih-Cheng | 110Packaging
1036 | P-110-72 | SerializationACG | 110Packaging
1037 | P-110-73 | Shrink WrapperAutopack | 110Packaging
1038 | P-110-74 | Laser Marking MachineVIDEO JET TECHNOLOGIES inc | 110Packaging
1039 | P-110-75 | CI Vision Camera InspectionMettler Toledo Ci Vision | 110Packaging
1040 | P-110-76 | Megazine System MAG-200PT. Mikko Indonesia | 110Packaging
1041 | P-110-77 | Check Weigher Type SSVAnritsu | 110Packaging
1042 | P-110-78 | AggregationACG Inspection System | 110Packaging
1043 | P-110-79 | Injet Printer Imaje 5600Marker -Imaje | 110Packaging
1044 | P-110-8 | Rotary TableUnscrumber | 110Packaging
1045 | P-110-80 | Inkjet PrinterA Dover Company, Prancis | 110Packaging
1046 | P-110-81 | The Leak Test ApparatusGast Manufacturing Inc. | 110Packaging
1047 | P-110-82 | Check Weigher Type SSVAnritsu | 110Packaging
1048 | P-123-10 | Butterfly ValveDefalaval | 123Washing Sterilizing
1049 | P-123-11 | Wadah S/S 2 L scale 100-2000mLMagnate Stainless Steel | 123Washing Sterilizing
1050 | P-123-12 | Wadah S/S 4 L scale 100-4000mL | 123Washing Sterilizing
1051 | P-123-13 | Integrity Tester FFS04Palltronic | 123Washing Sterilizing
1052 | P-123-8 | Laminair Air Flow (LAF) | 123Washing Sterilizing
1053 | P-123-9 | Laminair Air Flow (LAF) | 123Washing Sterilizing
1054 | P-133-1 | Transfer PumpUnilutz | 133AAirlock
1055 | P-133-2 | Dispensing BoothExtract Technology | 133AAirlock
1056 | P-133-3 | Pompa transferLutz | 133AAirlock
1057 | P-133-4 | Pompa transferLutz | 133AAirlock
1058 | P-133-5 | Pompa PeristaltikWatson Marlow | 133AAirlock
1059 | P-134-4 | Screen 30 MeshSweco | R.134
1060 | P-140-07 | Vacuum PumpDRUVAC VTA 80 C | 140Visine Filling
1061 | P-141-9 | IWK FP-10 | 141Other Liquids Filling
1062 | P-142-02 | Melting DeviceWatflow Electric Mfg Co. | 142Ointment Compounding
1063 | P-142-1 | Krieger MMKrieger MMU 300 | 142Ointment Compounding
1064 | P-142-2 | Collete Bowl 35 LKriger AG MMU-300 | 142Ointment Compounding
1065 | P-142-3 | Melting DeviceWatflow Electric Mfg Co. | 142Ointment Compounding
1066 | P-142-4 | Collet Bowl 35 L | 142Ointment Compounding
1067 | P-142-5 | Container S/S 200 L | 142Ointment Compounding
1068 | P-142-6 | Container S/S 200 L | 142Ointment Compounding
1069 | P-143-1 | Ointment FillingIWKA TU 23 | 143Ointment Filling
1070 | P-143-2 | Laminar Air Flow (LAF) | 143Ointment Filling
1071 | P-144A-11 | Measurement Glass 2000 mLBrand | 144ALiquid Compounding
1072 | P-144A-8 | S/S Container 35L (2) | 144ALiquid Compounding
1073 | P-144A-9 | Measurement Glass 1000 mLBrand | 144ALiquid Compounding
1074 | P-144B-4 | Mixing Tank 100 LINDOLAVAL | 144BLiquid Compounding
1075 | P-144B-5 | Metrohm 780 pH MeterMetrohm | 144BLiquid Compounding
1076 | P-150-2 | ForkliftElda | 150Corridor
1077 | P-150-5 | ForkliftEconom | 150Corridor
1078 | P-151-1 | Encapsuling MachineMG 2 Compact | 151Encapsulation MG2
1079 | P-151-2 | VacuumMG 2 Compact | 151Encapsulation MG2
1080 | P-151-3 | Capsules PolisherLuminar II | 151Encapsulation MG2
1081 | P-151-4 | Metal DetektorSafeline | 151Encapsulation MG2
1082 | P-151-6 | Capsules PolisherChi New Machinery., Co.Ltd | 151Encapsulation MG2
1083 | P-151-7 | Vacuum TransferPIAB | 151Encapsulation MG2
1084 | P-152-1 | Box panel Inventer | 152Granulation
1085 | P-152-2 | Pompa PeristaltikWatson Marlow | 152Granulation
1086 | P-154-05 | Vacuum TransferPIAB | 154Tabletting Manesty
1087 | P-154-1 | Tablet CompressionManesty Expres 20 | 154Tabletting Manesty
1088 | P-154-2 | Tablet DedusterKramer | 154Tabletting Manesty
1089 | P-154-3 | Vacuum TransferCFM | 154Tabletting Manesty
1090 | P-154-4 | Metal DetectorSafeline | 154Tabletting Manesty
1091 | P-155-04 | Capsuling MachineChin-Yi ACF 50 | 155Encapsulation ChinYi
1092 | P-157-2 | Bottle BlowingCozzoli | 157Blistering
1093 | P-157-3 | Ropp CapperManesty | 157Blistering
1094 | P-157-4 | Blistering MachineDuan Kwee | 157Blistering
1095 | P-158-1 | Blistering MachineUhlman UPS 300 | 158Blistering
1096 | P-158-3 | ChillerUhlmann UPS300 | 158Blistering
1097 | P-159-1 | Tablet CompressionKilian T-300 | 159Tabletting Kilian
1098 | P-159-2 | Modules of Operator Con.Kilian A-100 | 159Tabletting Kilian
1099 | P-159-4 | Dust CollectorAriestal | 159Tabletting Kilian
1100 | P-159-5 | Metal DetectorSafeline | 159Tabletting Kilian
1101 | P-159-6 | Vacuum TransferCFM | 159Tabletting Kilian
1102 | P-159-7 | DedusterKramer | 159Tabletting Kilian
1103 | P-160-1 | Tablet Film CoaterAccela Cota | 160Tablet Coating
1104 | P-160-2 | HomogenizerSilverson AX3 | 160Tablet Coating
1105 | P-160-3 | Container S/S 50 L | 160Tablet Coating
1106 | P-160-4 | Container S/S 50 L | 160Tablet Coating
1107 | P-162-1 | V-Blending 600 LPress Industrial | 162Blending
1108 | P-162-2 | Vacuum ConveyorPIAB | 162Blending
1109 | P-163-07 | FitzMillManesty Machines.,Ltd | 163Milling
1110 | P-163-1 | FitzMill D6Fitzpatrick | 163Milling
1111 | P-163-4 | SieverSweco | 163Milling
1112 | P-163-5 | Drum BlenderManesty | 163Milling
1113 | P-163-6 | Vacuum TransferPIAB | 163Milling
1114 | P-163-7 | FitzMill D6Fitzpatrick (Non Ponstan) | 163Milling
1115 | P-163-8 | Collete Bowl 150 L | 163Milling
1116 | P-163-9 | Collete Bowl 150 L | 163Milling
1117 | P-164-1 | V. Blending 300 LPress. Industrial | 164Blending
1118 | P-165-3 | Tablet CompressKikusui | 165Tabletting Kikusui
1119 | P-165-4 | Metal DetectorSafeline | 165Tabletting Kikusui
1120 | P-165-5 | DedusterLuminer V | 165Tabletting Kikusui
1121 | P-166-1 | Fluid Bed DryerCalmic | 166Calmic FBD
1122 | P-166-3 | Vacuum ConveyorPIAB | 166Calmic FBD
1123 | P-168-1 | Low Shear MixerMarion | 166Calmic FBD
1124 | P-168-2 | High Shear MixerTK Fielder | 168Mixing
1125 | P-186-1 | Labeling MachineCVC | 186Packaging area for Combantrin
1126 | P-186-2 | Cartoning MachineJih-Cheng | 186Packaging area for Combantrin
1127 | P-186-3 | Cartoning MachineIWK VC5 | 186Packaging area for Combantrin
1128 | P-191-1 | Mixing Tank 1000 LIndolaval | 191Liquid Compounding
1129 | P-191-13 | Holding Tank 300 LPermanently sanitary | 191Liquid Compounding
1130 | P-191-14 | Transfer PumpJabsco | 191Liquid Compounding
1131 | P-191-15 | High Share MixerSilverson AX3 | 191Liquid Compounding
1132 | P-191-2 | Mixing Tank 250 LIndolaval | 191Liquid Compounding
1133 | P-191-3 | Holding Tank 300 LIndolaval | 191Liquid Compounding
1134 | P-191-4 | HomogenizerSilverson EX | 191Liquid Compounding
1135 | P-191-6 | Mixing Tank 150 LIndolaval | 191Liquid Compounding
1136 | P-191-7 | Super Homo/HomogenizerReeves | 191Liquid Compounding
1137 | P-191-8 | Transfer PumpLenze | 191Liquid Compounding
1138 | P-191-9 | Holding Tank 100Maju Bersama | 191Liquid Compounding
1139 | P-192-1 | Liquid Filling MAR | 192Liquid Filling
1140 | P-192-2 | Vacuum pumpWirbel | 192Liquid Filling
1141 | P-193-1 | Holding Tank 1000 L Indolaval | 193Holding Tanks
1142 | P-193-2 | Circulating pumpJabsco | 193Holding Tanks
1143 | P-193-4 | Circulating PumpTeco | 193Holding Tanks
1144 | P-301-1 | Fluid Bed DryerGlatt GPCG-120 | 301Drying
1145 | P-301-2 | Hydraulic Sys. of GlattHydraulic Aggregate BHT-25-RV | 301Drying
1146 | P-303-2 | Drying machineSpeed Queen | 302Blistering
1147 | P-303-3 | Washing MachineSamsung | 302Blistering
1148 | P-310-1 | Blistering MachineDuan Kwei | 310Blistering
1149 | P-311-1 | Blistering MachineUhlmann Ex Bayer | 311Blistering
1150 | P-312-1 | Capsule CounterCVC TECHNOLOGIES INC | 312Blistering
1151 | P-313-1 | Laminer Air Flow StationInfiltraco Murni | 313Primary Packaging
1152 | P-314-1 | 1000 Litre s Series IBCMatcon LTD | 314WIP Storage
1153 | P-314-2 | 1000 Litre s Series IBCMatcon LTD | 314WIP Storage
1154 | P-314-3 | 1000 Litre s Series IBCMatcon LTD | 314WIP Storage
1155 | P-316-1 | Hardness TesterSotax HT1 | 316IPC
1156 | P-316-2 | Friability TesterSotax FT2 | 316IPC
1157 | P-316-3 | Disintegration TesterSotax DT2 | 316IPC
1158 | P-316-4 | Automatic Tablet & Capsule CounRX Count | 316IPC
1159 | P-318-1 | Tablet PressWilhelm Fette Gmbh | 318Tableting
1160 | P-318-2 | Tablet Deduster stat.1Tablet Deduster C&C 200C Uphil | 318Tableting
1161 | P-318-3 | Tablet Deduster stat.2Tablet Deduster C&C 200C Uphil | 318Tableting
1162 | P-318-4 | Vacuum CleanerNilfisk CFM | 318Tableting
1163 | P-318-5 | Metal DetectorLOCK Inspection System | 318Tableting
1164 | P-318-6 | IBC Discharge StationMatcon LTD | 318Tableting
1165 | P-318-7 | Metal DetectorLOCK Inspection System | 318Tableting
1166 | P-319-1 | V-Blending 1200 LDogge | 319Mixing
1167 | P-319-2 | IBC discharge stationMatcon LTD | 319Mixing
1168 | P-319-3 | Vacuum ConveyorPIAB | 319Mixing
1169 | P-321-1 | Tablet Coating MachineAccela Cota 60S | 321Coating
1170 | P-321-2 | Container S/S 100 L | 321Coating
1171 | P-321-3 | Container S/S 100 L | 321Coating
1172 | P-321-4 | Container S/S 50 L | 321Coating
1173 | P-321-5 | Container S/S 50 L | 321Coating
1174 | P-323-1 | Fluid Bed DryerHong Dou Industrial Co.,LTD | 323Drying
1175 | P-323-2 | Milling MachineFitzpatrick | 323Drying
1176 | P-324-1 | High Shear MixerTK Fielder | 324Mixing
1177 | P-324-2 | Cone MillHong Dou Industrial Co.,LTD | 324Mixing
1178 | P-328-1 | Dispensing BoothExtract Technology | 328Dispensing Booth
1179 | P-335A-1 | Chamber for Media IncubationATS | 133Weighing Booth
1180 | U-002 | Fuel Trans.Pump | 136AWater System Control
1181 | U-004 | Battery Charger | Gudang Cimanggis
1182 | U-005 | Fuel Main Tank 1 | 332Utility Area
1183 | U-015 | Air Compressor 1 | 332Utility Area
1184 | U-015 | Air Compressor 1 | 332Utility Area
1185 | U-016 | Air Compressor 2 | 332Utility Area
1186 | U-016 | Air Compressor 2 | 332Utility Area
1187 | U-018-1 | Air Dryer 1 | 332Utility Area
1188 | U-018-2 | Air Dryer 2 | 332Utility Area
1189 | U-019 | Hot Water Mixing Tank | 332Utility Area
1190 | U-020 | Hot Water Pump | 332Utility Area
1191 | U-021 | Hot Water Storage Tank | 332Utility Area
1192 | U-021-2 | Potable Water Tank A | 332Utility Area
1193 | U-022 | Submersible Pump No.2 | 332Utility Area
1194 | U-024 | Well W. Main Tank 50 M3 | 332Utility Area
1195 | U-025 | Well W. Main Tank 100 M3 | 332Utility Area
1196 | U-026 | Transfer Pump | 332Utility Area
1197 | U-027 | Degisifier | 332Utility Area
1198 | U-028 | Clorinator | 332Utility Area
1199 | U-028-2 | Clorinator/Dosing pump (PW A Tank) | 332Utility Area
1200 | U-029 | Sand Filter | 332Utility Area
1201 | U-030 | Daily Well Water Pump 1 | 332Utility Area
1202 | U-031 | Daily Well Water Pump 2 | 332Utility Area
1203 | U-032 | Fuel Daily Pump | 332Utility Area
1204 | U-034 | N2 Liquid Tank | 332Utility Area
1205 | U-035 | N2 Filter | 332Utility Area
1206 | U-036 | Demi Plant Unit | 332Utility Area
1207 | U-036-1 | PENGGANTIAN RESIN DEMIN LINE B | 332Utility Area
1208 | U-036-1 | PENGGANTIAN RESIN DEMIN LINE A | 332Utility Area
1209 | U-036-2 | PRE THREATMENT UNIT (CARBON ACTIVE) | 332Utility Area
1210 | U-036-3 | PRE THREATMENT UNIT (SAND & CARBON FILTER) | 332Utility Area
1211 | U-037 | PSG Unit | 332Utility Area
1212 | U-038 | Neutralizer Unit | 332Utility Area
1213 | U-039 | Stand by cold water pump A | 332Utility Area
1214 | U-040 | AHU sytem 21.1 | 332Utility Area
1215 | U-041 | AHU system 22.2 | 332Utility Area
1216 | U-042 | Oil Free Air ZT-37 | 332Utility Area
1217 | U-043-1 | Blower 1 | 332Utility Area
1218 | U-043-2 | Blower 2 | 332Utility Area
1219 | U-044 | Sand Filter Pump Waste Water 1 | 332Utility Area
1220 | U-045 | Carbon Filter Pump Waste Water 2 | 332Utility Area
1221 | U-046 | Electric Drying | 332Utility Area
1222 | U-047 | Washing Machine | 332Utility Area
1223 | U-048 | Draying machine | 332Utility Area
1224 | U-049 | Floor Polisher | 332Utility Area
1225 | U-050 | Holding Tank Air Compressor | 332Utility Area
1226 | U-052 | Waste Water Pump | 332Utility Area
1227 | U-055 | WPU tank and loop | 332Utility Area
1228 | U-056 | WFI tank and loop | 332Utility Area
1229 | U-057 | WFI production | 332Utility Area
1230 | U-058-1 | Jocky pump | 332Utility Area
1231 | U-067 | Lift | 332Utility Area
1232 | U-070 | Fuel Main Tank 2 | 332Utility Area
1233 | U-071 | HURST BOILER HURST | 332Utility Area
1234 | U-075 | Trane 1 Chiller | 332Utility Area
1235 | U-075-2 | Trane 2 Chiller | 332Utility Area
1236 | U-076 | Cooling water pump 1 | 332Utility Area
1237 | U-077 | Chiller water pump 1 | 332Utility Area
1238 | U-078 | Water Cooler LBC 500 | 332Utility Area
1239 | U-079 | Hand Dryer | 332Utility Area
1240 | U-080 | Tapproge CCS 1 | 332Utility Area
1241 | U-080-2 | Tapproge CCS 2 | 332Utility Area
1242 | U-081 | Reverse Osmosis Demin | 332Utility Area
1243 | U-082 | Holding Tank Oil Free | 332Utility Area
1244 | U-083 | Cooling water pump 2 | 332Utility Area
1245 | U-084 | Chiller water pump 2 | 332Utility Area
1246 | U-085 | Hand Dryer | 332Utility Area
1247 | U-086 | Hand Dryer | 332Utility Area
1248 | U-087 | Hand Dryer | 332Utility Area
1249 | U-088 | Hand Dryer | 332Utility Area
1250 | U-089 | Hand Dryer | 332Utility Area
1251 | U-090 | Compressed Air Dryer | 332Utility Area
1252 | U-091 | Holding Tank for Boiler | 332Utility Area
1253 | U-092 | FEED WATER PUMP I FOR HURST BOILER PADOVA | 332Utility Area
1254 | U-093 | FEED WATER PUMP 2 FOR HURST BOILER PADOVA | 332Utility Area
1255 | U-094 | ECONOMIZER HURST | 332Utility Area
1256 | U-095 | CHEMICAL PUMP FOR HURST HURST | 332Utility Area
1257 | U-096 | Miura Boiler 1 | 332Utility Area
1258 | U-097 | Miura Boiler 2 | 332Utility Area
1259 | U-098 | Reverse Osmosis Raw Water | 332Utility Area
1260 | U-099 | Carbon Filter Raw Water | 332Utility Area
1261 | U-100 | Dessicant Dryer | 332Utility Area
1262 | U-101 | OFA Compressor Water Lubricated | 332Utility Area
1263 | U-102 | Yamaha Sand & Corbon Water Filter | 332Utility Area
1264 | U-104 | Water Filter 5 ? for Mitshui Seiki Compressor | 332Utility Area
1265 | U-107 | Vacuum Cleaner Delvin | 332Utility Area
1266 | U-108 | Vacuum Cleaner Krisbow | 332Utility Area
1267 | U-109 | Potable Water Tnak B | 332Utility Area
1268 | U-110 | Water Cooling Tower LRC 250 | 332Utility Area
1269 | U-111 | AICOOL CHILLER | 332Utility Area
1270 | U-112 | OFA COMPRESSOR WATER LUBRICATED 2 | 332Utility Area
1271 | U-113 | WATER FILTER 5 µ FOR MITSHUI SEIKI COMPRESSOR 2 | 332Utility Area
1272 | U-114 | CHORINATOR 2 (PRESSURE TANK PW A) | 332Utility Area
1273 | U-115 | Genset Perkins | 332Utility Area
1274 | U-118 | PW Generator dan PW Looping | 332Utility Area
1275 | AC-001 | Dehumidifier 14-2 | 332Utility Area
1276 | AC-002 | Dehumidifier 9-3 | 332Utility Area
1277 | AC-015 | Level Control Valve | 332Utility Area
1278 | AC-016 | AHU System 3 | 332Utility Area
1279 | AC-017 | AHU System 5 | 332Utility Area
1280 | AC-018 | AHU System 14 A | 332Utility Area
1281 | AC-019 | AHU System 14 B | 332Utility Area
1282 | AC-021 | AHU System 15 | 332Utility Area
1283 | AC-022 | AHU System 16 | 332Utility Area
1284 | AC-023 | AHU System 17 | 332Utility Area
1285 | AC-024 | AHU System 18 | 332Utility Area
1286 | AC-026 | AHU System 20 | 332Utility Area
1287 | AC-027 | Exhaust Fan System 4 | 332Utility Area
1288 | AC-050 | Fan Toilet | 332Utility Area
1289 | AC-052 | AHU System 23 | 332Utility Area
1290 | AC-055 | AHU System 9-1 | 332Utility Area
1291 | AC-056 | AHU System 9-2 | 332Utility Area
1292 | AC-058 | AHU System 24.1 | 332Utility Area
1293 | AC-059 | AHU System 24.2 | 332Utility Area
1294 | AC-060 | Dehumidifier 24.2 | 332Utility Area
1295 | AC-061 | AHU System 25 | 332Utility Area
1296 | AC-062 | AHU System 26 | 332Utility Area
1297 | AC-063 | AHU System 27 | 332Utility Area
1298 | AC-064 | AHU System 28 | 332Utility Area
1299 | AC-065 | Dehumidifier 1 | 332Utility Area
1300 | AC-066 | Dehumidifier 2 | 332Utility Area
1301 | AC-067 | AC AREA CIMANGGIS | N/A